## BOQ - Office Fitout
BILL OF QUANTITIES — OFFICE FIT-OUT ¦ FLOOR 12, KINGDOM TOWER ANNEX, RIYADH
Client: [Client Name] ¦ Area: 650 m² ¦ Grade: Premium ¦ Currency: SAR
Item No | Description | Trade | Unit | Qty | Rate (SAR) | Amount (SAR) | Notes
A | CIVIL & PARTITION WORKS
A.01 | Demolition of existing partitions and finishes | civil | m2 | 650 | 45 | 29250 | Full floor strip-out
A.02 | Gypsum board partitions (75mm metal stud, double skin) | civil | m2 | 420 | 185 | 77700 | H=3.0m
A.03 | Glass partition system (12mm tempered, aluminium frame) | civil | lm | 85 | 950 | 80750 | Floor-to-ceiling
A.04 | Solid core timber doors (900x2100, with frame & hardware) | civil | nr | 18 | 2200 | 39600 | Premium grade
A.05 | Frameless glass doors (1200x2400mm) | civil | nr | 6 | 4500 | 27000 | Board rooms
A.06 | Concrete floor levelling screed | civil | m2 | 650 | 55 | 35750 | 40mm avg thickness
B | FLOORING WORKS
B.01 | Raised access floor system (600x600, 150mm height) | finishing | m2 | 380 | 320 | 121600 | Open plan areas
B.02 | Porcelain floor tiles 600x600 (rectified, premium grade) | finishing | m2 | 120 | 145 | 17400 | Reception & corridors
B.03 | Carpet tiles (500x500, premium grade, interface brand) | finishing | m2 | 250 | 95 | 23750 | Private offices
B.04 | Vinyl flooring (LVT, 4mm wear layer) | finishing | m2 | 80 | 85 | 6800 | Pantry & support areas
C | CEILING WORKS
C.01 | Suspended ceiling grid system (600x600 Armstrong Ultima) | finishing | m2 | 580 | 130 | 75400 | Open areas
C.02 | Gypsum board bulkhead / feature ceiling | finishing | m2 | 70 | 220 | 15400 | Reception area
C.03 | Linear metal ceiling (100mm blade, aluminium) | finishing | m2 | 45 | 380 | 17100 | MD corridor
D | PAINTING & WALL FINISHING
D.01 | Emulsion paint to walls (2 coats, premium grade) | finishing | m2 | 1850 | 22 | 40700 | Jotun Majestic
D.02 | Wallcovering / fabric wall panels | finishing | m2 | 180 | 165 | 29700 | Board rooms & MD
D.03 | Decorative feature wall (textured finish) | finishing | m2 | 35 | 280 | 9800 | Reception
E | MEP WORKS
E.01 | Split A/C units — 2.5 ton (supply, install, commission) | mep | nr | 22 | 3200 | 70400 | Daikin / Carrier
E.02 | Central A/C — 5 ton cassette units | mep | nr | 8 | 5500 | 44000 | Board rooms
E.03 | Fresh air handling unit (1500 CFM) | mep | nr | 2 | 18000 | 36000 | Rooftop
E.04 | Electrical DB board (63A, 24-way) | mep | nr | 4 | 3500 | 14000
E.05 | LED panel lights (600x600, 40W, recessed) | mep | nr | 145 | 180 | 26100
E.06 | Downlights (recessed, dimmable, 12W) | mep | nr | 85 | 95 | 8075
E.07 | Fire alarm system (addressable, complete) | mep | ls | 1 | 28000 | 28000 | NFPA 72
E.08 | Sprinkler system modifications | mep | nr | 120 | 185 | 22200
E.09 | Data & voice outlets (Cat6, complete) | mep | nr | 95 | 280 | 26600
E.10 | Access control system (8 doors) | mep | ls | 1 | 22000 | 22000 | HID / Suprema
F | FF&E (FURNITURE, FIXTURES & EQUIPMENT)
F.01 | Executive desk (2400x1200, with return) | ffe | nr | 8 | 4800 | 38400 | MD & Directors
F.02 | Open plan workstations (1400x800, with privacy screen) | ffe | nr | 42 | 1850 | 77700
F.03 | Executive mesh chair (ergonomic) | ffe | nr | 50 | 1200 | 60000
F.04 | Board room table (4000x1400, custom) | ffe | nr | 2 | 18000 | 36000
F.05 | Reception desk (custom, with stone top) | ffe | nr | 1 | 28000 | 28000
[5 empty] | SUBTOTAL | 1185175
[5 empty] | Contingency (10%) | 118518
[5 empty] | Overhead & Profit (15%) | 177776
[5 empty] | VAT (15% KSA) | 222220
[5 empty] | GRAND TOTAL (SAR) | 1703689